## FormFracas
STAR ENERGY GEOTHERMAL (WAYANG WINDU) LTD.
Wayang Windu Geothermal Power Plant
Control Room Log Book
Date |  |  | Group | Production Foreman |  | Production Operators
2013-07-04
TIME | D E S C R I P T I O N
| PRODUCTION AND INJECTION WELLS | [7 empty] | POWER STATION
19:00 | Wells | FCV | Flow | WHP | Wells | FCV | Flow | WHP |  | T/G | T/G
|  | (%) | (kg/s) | (Bar) |  | (%) | (kg/s) | (Bar) |  | Unit-1 | Unit-2
MW
Mvar
minute
step
kV
%
%
minute
mBar
kg/s
%
Bar
Bar
Bar
| U1 NCG | U2 NCG | U1 Turbine | U2 Turbine | U1 CT | U2 CT | T1 Exhaust | T2 Exhaust
| Flow(kg/s) | Flow(kg/s) | Exp.(mm) | Exp.(mm) | Temp.(oC) | Temp.(oC) | Temp.(oC) | Temp.(oC) |  |  |  | %
%
| Upper TP | Lower TP | MV-333 | MV-334 | Brine Level | Condensate | NaOH 48% | WWD Pond |  |  |  | oC
| Level(m) | Level(m) | Position(%) | Position(%) | (mm) | Level(mm) | Level(mm) | Level(m) |  |  |  | oC
Bar